## 2006
Project Number | GR_SV_Therm | Description | Incremental Measure Cost | IMC Per therm | Measure Life | EUL | Net to Gross
SCG_IE-17231 | 110074 | Shut off and lock out space heating system for 8 months per year | 500 | 0.0045424 | 3 - 5 yrs | 1 | 0.8
SCG_IE-15636 | 15000 | Trained maintenance staff in how to clean and tune boiler burners | 3712 | 0.24747 |  | 1 | 0.8
SCG_IE-1 | 1161913 | Replace non operational, leaky damper and institute a regular tuning program on steel reheat furnace | 60000 | 0.051639 | 2 - 3 yrs | 3 | 0.8
SCG_IE-17240 | 100000 | Increase loading to full fire on 2 primary boilers and maintain 3rd boiler in hot standby instead of running 3 boilers on part load | 2000 | 0.02 | 2 - 3 yrs | 3 | 0.8
SCG_IE-17237 | 15390 | Repair leaks in closed loop, high pressure, hot water system | 3000 | 0.19493 | 2 yrs | 3 | 0.8
SCG_IE-15925 | 15000 | Repair steam leaks in 125 psi steam distribution system and blank out bare pipe used for rental boiler discharge | 1600 | 0.10667 | 2 yrs | 3 | 0.8
SCG_IE-15637 | 8932 | Recommended that US Borax implement a regular filter cleaning and replacement program at the facility | 5000 | 0.55979 | 5 yrs | 3 | 0.8
SCG_IE-17233 | 278324 | Replace afterburners with a regenerative thermal oxidizer instead of a recuperative thermal oxidizer. | 200000 | 0.71859 | 20 yrs | 20 | 0.8
SCG_IE-17235 | 174660 | Install a better system (finer screening of food products and magnetic screening for foreign object removal) from incoming food products | 75000 | 0.42941 | 20 yrs | 20 | 0.8
SCG_IE-17242 | 50000 | Replace old incinerator with regenerative thermal oxidizer instead of a recuperative thermal oxidizer for better VOC destruction | 100000 | 2 | 20 yrs | 20 | 0.8
SCG_IE-17239 | 13127 | Retrofit burner and controls for better process control | 30000 | 2.2854 | 5 yrs | 20 | 0.8
| 1942420 |  | 480812 | 0.20892
| 1767760 |  | 405812 | 0.22956
|  |  |  | 40095.445 | <=IMC for #15636
Notes:
1) Incremental measure cost is not collected since customers do not receive financial incentives. The values are estimates from the program manager
2) The EUL is from the Energy Efficiency Policy Manual
3) Savings are explained in a separate document.

## 2006 Summary
Project Number | GR_SV_Therm | Description | Incremental Measure Cost | IMC Per therm | Measure Life | EUL | Net to Gross
SCG_IE-17231 | 110074 | Shut off and lock out space heating system for 8 months per year | 500 | 0.0045424 | 3 - 5 yrs | 1 | 0.8
SCG_IE-15636 | 15000 | Trained maintenance staff in how to clean and tune boiler burners | 3712 | 0.24747 |  | 1 | 0.8
Total | 125074 |  | 4212 | 0.033676
SCG_IE-1 | 1161913 | Replace non operational, leaky damper and institute a regular tuning program on steel reheat furnace | 60000 | 0.051639 | 2 - 3 yrs | 3 | 0.8
SCG_IE-17240 | 100000 | Increase loading to full fire on 2 primary boilers and maintain 3rd boiler in hot standby instead of running 3 boilers on part load | 2000 | 0.02 | 2 - 3 yrs | 3 | 0.8
SCG_IE-17237 | 15390 | Repair leaks in closed loop, high pressure, hot water system | 3000 | 0.19493 | 2 yrs | 3 | 0.8
SCG_IE-15925 | 15000 | Repair steam leaks in 125 psi steam distribution system and blank out bare pipe used for rental boiler discharge | 1600 | 0.10667 | 2 yrs | 3 | 0.8
SCG_IE-15637 | 8932 | Recommended that US Borax implement a regular filter cleaning and replacement program at the facility | 5000 | 0.55979 | 5 yrs | 3 | 0.8
Total | 1301235 |  | 71600 | 0.055025
SCG_IE-17233 | 278324 | Replace afterburners with a regenerative thermal oxidizer instead of a recuperative thermal oxidizer. | 200000 | 0.71859 | 20 yrs | 20 | 0.8
SCG_IE-17235 | 174660 | Install a better system (finer screening of food products and magnetic screening for foreign object removal) from incoming food products | 75000 | 0.42941 | 20 yrs | 20 | 0.8
SCG_IE-17242 | 50000 | Replace old incinerator with regenerative thermal oxidizer instead of a recuperative thermal oxidizer for better VOC destruction | 100000 | 2 | 20 yrs | 20 | 0.8
SCG_IE-17239 | 13127 | Retrofit burner and controls for better process control | 30000 | 2.2854 | 5 yrs | 20 | 0.8
Total | 516111 |  | 405000 | 0.78471