## Portfolio Metrics
Southern California Gas Company
2006-2008 Energy Efficiency Portfolio Benefit/Cost Metrics Report
Quarter Ending March 2008
Table 1: Quarterly Energy Efficiency Portfolio Results
Inception-To-Date
Total Cost to Billpayers (TRC) | 144011954.5048
Total Savings to Billpayers (TRC) | 272157675.6424
Net Benefits to Billpayers (TRC) | 128145721.1376
TRC Ratio | 1.8898
PAC Ratio | 3.9429
PAC Cost per kWh Saved (Cents/kWh) | 0.048036
PAC Cost per therm Saved ($/therm) | 0.20397

## Measure List
Southern California Gas Company
2006-2008 Energy Efficiency Portfolio Summary Report
Quarter Ending March 2008
Table 2: Quarterly Energy Efficiency Measure Results
Program ID | Program Name | Measure Name | Measure Description | DEER Measure ID | DEER Run ID | Unit Definition | End Use | Market Sector | Market Segment | Gross Electric Energy Savings (kWh) | Gross Peak Demand Reduction (kW) | Gross Gas Energy Savings (therms) | Gross Incremental Measure Cost ($) | Net-to-Gross Ratio | Effective Useful Life (years) | Units Installed | Units Commited | Rebate Amount Paid
SCG3502 | Advanced Home Program | 316013 | Single Family, Verified Ducting System, CZ 4 |  |  |  | HVAC | Single Family | NA | 43.035 | 0.04717 | 34.53 | 125 | 0.8 | 18 | 24 |  | 2400
SCG3502 | Advanced Home Program | 316014 | Single Family, Verified Ducting System, CZ 5 |  |  |  | HVAC | Single Family | NA | 18.935 | 0.02075 | 34.53 | 125 | 0.8 | 18 | 101 |  | 10100
SCG3502 | Advanced Home Program | 316017 | Single Family, Verified Ducting System, CZ 8 |  |  |  | HVAC | Single Family | NA | 111.885 | 0.12265 | 13.39 | 125 | 0.8 | 18 | 71 |  | 7100
SCG3502 | Advanced Home Program | 316018 | Single Family, Verified Ducting System, CZ 9 |  |  |  | HVAC | Single Family | NA | 271.965 | 0.29813 | 14.97 | 125 | 0.8 | 18 | 47 |  | 4800
SCG3502 | Advanced Home Program | 316019 | Single Family, Verified Ducting System, CZ 10 |  |  |  | HVAC | Single Family | NA | 543.93 | 0.59626 | 20.61 | 125 | 0.8 | 18 | 283 |  | 47000
SCG3502 | Advanced Home Program | 316022 | Single Family, Verified Ducting System, CZ 15 |  |  |  | HVAC | Single Family | NA | 2874.58 | 3.1512 | 9.86 | 125 | 0.8 | 18 | 24 |  | 4200
SCG3502 | Advanced Home Program | 316023 | Single Family, Quality Insulation Installation, CZ 4 |  |  |  | HVAC | Single Family | NA | 96.39 | 0.10566 | 52.51 | 300 | 0.8 | 20 | 101 |  | 17675
SCG3502 | Advanced Home Program | 316024 | Single Family, Quality Insulation Installation, CZ 5 |  |  |  | HVAC | Single Family | NA | 37.87 | 0.04151 | 57.09 | 300 | 0.8 | 20 | 129 |  | 22575
SCG3502 | Advanced Home Program | 316025 | Single Family, Quality Insulation Installation, CZ 6 |  |  |  | HVAC | Single Family | NA | 24.1 | 0.02641 | 29.95 | 300 | 0.8 | 20 | 2 |  | 350
SCG3502 | Advanced Home Program | 316027 | Single Family, Quality Insulation Installation, CZ 8 |  |  |  | HVAC | Single Family | NA | 182.46 | 0.20001 | 27.84 | 300 | 0.8 | 20 | 87 |  | 9600
SCG3502 | Advanced Home Program | 316028 | Single Family, Quality Insulation Installation, CZ 9 |  |  |  | HVAC | Single Family | NA | 254.75 | 0.27926 | 14.45 | 300 | 0.8 | 20 | 63 |  | 11025
SCG3502 | Advanced Home Program | 316029 | Single Family, Quality Insulation Installation, CZ 10 |  |  |  | HVAC | Single Family | NA | 468.19 | 0.51324 | 38.41 | 300 | 0.8 | 20 | 447 |  | 78225
SCG3502 | Advanced Home Program | 316030 | Single Family, Quality Insulation Installation, CZ 13 |  |  |  | HVAC | Single Family | NA | 547.37 | 0.60004 | 52.16 | 300 | 0.8 | 20 | 490 |  | 85750
SCG3502 | Advanced Home Program | 316032 | Single Family, Quality Insulation Installation, CZ 15 |  |  |  | HVAC | Single Family | NA | 1270.32 | 1.3925 | 20.79 | 300 | 0.8 | 20 | 302 |  | 52850
SCG3502 | Advanced Home Program | 316033 | Single Family, Tank Less Water Heater, CZ 4 |  |  |  | Appliances | Single Family | NA | 0 | 0 | 79.99 | 325 | 0.8 | 15 | 52 |  | 10400
SCG3502 | Advanced Home Program | 316038 | Single Family, Tank Less Water Heater, CZ 9 |  |  |  | Appliances | Single Family | NA | 0 | 0 | 83.52 | 325 | 0.8 | 15 | 7 |  | 1400
SCG3502 | Advanced Home Program | 316039 | Single Family, Tank Less Water Heater, CZ 10 |  |  |  | Appliances | Single Family | NA | 0 | 0 | 83.52 | 325 | 0.8 | 15 | 90 |  | 19600
SCG3502 | Advanced Home Program | 316040 | Single Family, Tank Less Water Heater, CZ 13 |  |  |  | Appliances | Single Family | NA | 0 | 0 | 75.41 | 325 | 0.8 | 15 | 346 |  | 69200
SCG3502 | Advanced Home Program | 316042 | Single Family, Tank Less Water Heater, CZ 15 |  |  |  | Appliances | Single Family | NA | 0 | 0 | 73.65 | 325 | 0.8 | 15 | 20 |  | 4000
SCG3502 | Advanced Home Program | 316062 | Multi-family, Maximum Cooling Capacity, CZ 15 |  |  |  | HVAC | Multi Family | NA | 1791.18 | 1.9635 | 4.3 | 150 | 0.8 | 15 | 152 |  | 15200
SCG3502 | Advanced Home Program | 316064 | Multi-family, Verified Ducting System, CZ 5 |  |  |  | HVAC | Multi Family | NA | 4.5 | 0.00493 | 13.73 | 100 | 0.8 | 18 | 9 |  | 675
SCG3502 | Advanced Home Program | 316065 | Multi-family, Verified Ducting System, CZ 6 |  |  |  | HVAC | Multi Family | NA | 4.5 | 0.00493 | 5.68 | 100 | 0.8 | 18 | 23 |  | 1725
SCG3502 | Advanced Home Program | 316067 | Multi-family, Verified Ducting System, CZ 8 |  |  |  | HVAC | Multi Family | NA | 59.96 | 0.06572 | 5.52 | 100 | 0.8 | 18 | 78 |  | 5850
SCG3502 | Advanced Home Program | 316068 | Multi-family, Verified Ducting System, CZ 9 |  |  |  | HVAC | Multi Family | NA | 137.15 | 0.15034 | 6.14 | 100 | 0.8 | 18 | 2 |  | 150
SCG3502 | Advanced Home Program | 316069 | Multi-family, Verified Ducting System, CZ 10 |  |  |  | HVAC | Multi Family | NA | 259.31 | 0.28426 | 8.75 | 100 | 0.8 | 18 | 387 |  | 29025
SCG3502 | Advanced Home Program | 316072 | Multi-family, Verified Ducting System, CZ 15 |  |  |  | HVAC | Multi Family | NA | 1163.89 | 1.2759 | 4.3 | 100 | 0.8 | 18 | 88 |  | 8800
SCG3502 | Advanced Home Program | 316073 | Multi-family, High Quality Insulation Installation, CZ 4 |  |  |  | HVAC | Multi Family | NA | 34.47 | 0.03778 | 11.12 | 100 | 0.8 | 20 | 65 |  | 3250
SCG3502 | Advanced Home Program | 316074 | Multi-family, High Quality Insulation Installation, CZ 5 |  |  |  | HVAC | Multi Family | NA | 11.99 | 0.01314 | 11.89 | 100 | 0.8 | 20 | 21 |  | 1050
SCG3502 | Advanced Home Program | 316075 | Multi-family, High Quality Insulation Installation, CZ 6 |  |  |  | HVAC | Multi Family | NA | 9.74 | 0.01067 | 5.91 | 100 | 0.8 | 20 | 365 |  | 18250
SCG3502 | Advanced Home Program | 316078 | Multi-family, High Quality Insulation Installation, CZ 9 |  |  |  | HVAC | Multi Family | NA | 95.18 | 0.10433 | 6.06 | 100 | 0.8 | 20 | 336 |  | 16800
SCG3502 | Advanced Home Program | 316079 | Multi-family, High Quality Insulation Installation, CZ 10 |  |  |  | HVAC | Multi Family | NA | 125.91 | 0.13802 | 8.13 | 100 | 0.8 | 20 | 439 |  | 21950
SCG3502 | Advanced Home Program | 316082 | Multi-family, High Quality Insulation Installation, CZ 15 |  |  |  | HVAC | Multi Family | NA | 304.28 | 0.33355 | 4.22 | 100 | 0.8 | 20 | 128 |  | 6400
SCG3502 | Advanced Home Program | 316084 | Multi-family, Tank Less Water Heater, CZ 5 |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 13.96 | 325 | 0.8 | 15 | 9 |  | 1800
SCG3502 | Advanced Home Program | 316087 | Multi-family, Tank Less Water Heater, CZ 8 |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 15.34 | 325 | 0.8 | 13 | 20 |  | 4000
SCG3502 | Advanced Home Program | 316088 | Multi-family, Tank Less Water Heater, CZ 9 |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 15.27 | 325 | 0.8 | 15 | 51 |  | 10200
SCG3502 | Advanced Home Program | 316092 | Multi-family, Tank Less Water Heater, CZ 15 |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 14.81 | 325 | 0.8 | 15 | 40 |  | 8000
SCG3502 | Advanced Home Program |  | Commitments | [6 empty] | 4795641.176 | 5813.9178 | 319746.672 | [5 empty] | 3269550
SCG3503 | Education & Training Program | 318004 | Burners and burner related equipment |  |  | Therm | Other | Industrial | NA | 0 | 0 | 1 | 0.78 | 0.74 | 20 | 4132701 |  | 0
SCG3503 | Education & Training Program | 318005 | Equipment repair/upgrades |  |  | Therm | Other | Industrial | NA | 0 | 0 | 1 | 0.05 | 0.74 | 3 | 1422317 |  | 0
SCG3503 | Education & Training Program | 318006 | Maintenance and Tune-up |  |  | Therm | Other | Industrial | NA | 0 | 0 | 1 | 0.03 | 0.74 | 1 | 125074 |  | 0
SCG3507 | SCG Express Efficiency Rebates | 311002 | Greenhouse Heat Curtain | D03-981 | CFRM00AVHt | Sqft | HVAC | Agricultural | 11 | 0 | 0 | 0.32 | 0.49 | 0.96 | 5 | 4844113 |  | 947017.85
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 42 | 0 | 0 | 1.75 | 6.78 | 0.96 | 15 | 599.0251 |  | 1196
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 44 | 0 | 0 | 1.75 | 6.78 | 0.96 | 15 | 346.593 |  | 692
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 53 | 0 | 0 | 1.75 | 6.78 | 0.96 | 15 | 512.8777 |  | 1024
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 54 | 0 | 0 | 1.75 | 6.78 | 0.96 | 15 | 83.1422 |  | 166
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 1.75 | 6.78 | 0.96 | 15 | 2604.4569 |  | 5200
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 62 | 0 | 0 | 1.75 | 6.78 | 0.96 | 15 | 890.5239 |  | 1778
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 1.75 | 6.78 | 0.96 | 15 | 512.8777 |  | 1024
SCG3507 | SCG Express Efficiency Rebates | 311005 | Storage Water Heaters (LRG >75 MBTUH) |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 1.75 | 6.78 | 0.96 | 15 | 16725.0181 |  | 33392.8
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Commercial | 48 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 30 |  | 60
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Commercial | 56 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 40 |  | 80
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 1530 |  | 3060
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 205 |  | 410
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Commercial | 81 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 80 |  | 160
SCG3507 | SCG Express Efficiency Rebates | 311006 | Storage Water Heaters (SML <= 75 MBTUH) |  |  | MBtuH | Process | Industrial | 33 | 0 | 0 | 0.66 | 2.69 | 0.96 | 15 | 60 |  | 120
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 52 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 1949 |  | 974.5
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 53 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 2300 |  | 1150
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 56 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 235 |  | 117.5
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 12810 |  | 6405
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 62 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 3160 |  | 1580
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 3939 |  | 4579.5
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 17475 |  | 11920.5
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 81 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 32952.8 |  | 21973.9
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Commercial | 92 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 569 |  | 284.5
SCG3507 | SCG Express Efficiency Rebates | 311007 | Instantaneous Water Heaters (>= 200 MBTUH) |  |  | MBtuH | Process | Industrial | 51 | 0 | 0 | 0.96 | -1.32 | 0.96 | 15 | 600 |  | 300
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 44 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 190 |  | 380
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 53 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 140 |  | 280
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 54 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 316 |  | 632
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 1078.9 |  | 2317.8
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 507 |  | 1014
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 3140.0541 |  | 6451.6
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Commercial | 81 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 4111.3 |  | 8222.6
SCG3507 | SCG Express Efficiency Rebates | 311008 | Instantaneous Water Heaters (< 200 MBTUH) |  |  | MBtuH | Process | Industrial | 31 | 0 | 0 | 1.81 | -7.77 | 0.96 | 15 | 6199.7 |  | 12399.4
SCG3507 | SCG Express Efficiency Rebates | 311010 | Infrared Film for Greenhouses | D03-980 | CFRM07AVIR | Sqft | HVAC | Agricultural | 11 | 0 | 0 | 0.17 | 0.03 | 0.96 | 5 | 3026087 |  | 90782.61
SCG3507 | SCG Express Efficiency Rebates | 311010 | Infrared Film for Greenhouses | D03-980 | CFRM07AVIR | Sqft | HVAC | Commercial | 44 | 0 | 0 | 0.17 | 0.03 | 0.96 | 5 | 52800 |  | 1584
SCG3507 | SCG Express Efficiency Rebates | 311012 | Space Heating Boiler - Steam |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 0.32 | 3.57 | 0.96 | 20 | 7200 |  | 1800
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Agricultural | 22 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 1500 |  | 375
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 42 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 500 |  | 125
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 48 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 750 |  | 187.5
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 51 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 900 |  | 225
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 52 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 9030 |  | 2257.5
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 53 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 3899 |  | 974.75
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 20490 |  | 5122.5
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 62 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 5840 |  | 1460
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 4912.4482 |  | 2004.75
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 50770 |  | 15130
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Commercial | 92 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 28590 |  | 7147.5
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Industrial | 33 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 14000 |  | 3500
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Industrial | 51 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 3900 |  | 975
SCG3507 | SCG Express Efficiency Rebates | 311014 | Space Heating Boilers - Large Water |  |  | MBtuH | Process | Industrial | 54 | 0 | 0 | 0.29 | 3.57 | 0.96 | 20 | 10266 |  | 2791.5
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Agricultural | 11 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 9068 |  | 6604
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 44 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 750 |  | 375
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 51 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 3600 |  | 1800
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 52 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 4760 |  | 3640
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 53 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 17256 |  | 12528
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 7543 |  | 5169.5
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 62 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 13987 |  | 10991.5
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 8360 |  | 4930
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 31829 |  | 25814.5
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 81 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 21511.98 |  | 13624.49
SCG3507 | SCG Express Efficiency Rebates | 311015 | Commercial Boiler (Non-Space Heat, Non-Process) |  |  | MBtuH | Process | Commercial | 92 | 0 | 0 | 0.46 | 0 | 0.96 | 20 | 4498 |  | 2249
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Commercial | 32 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 2000 |  | 1000
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Commercial | 33 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 4000 |  | 2000
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Industrial | 31 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 168290.2 |  | 118643.6
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Industrial | 32 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 25271.9 |  | 16140.95
SCG3507 | SCG Express Efficiency Rebates | 311016 | Process Boiler - Steam |  |  | MBtuH | Process | Industrial | 33 | 0 | 0 | 0.37 | 3.57 | 0.96 | 20 | 2560 |  | 1280
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 56 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 1999 |  | 3998
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 61 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 30824 |  | 61648
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 62 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 1910 |  | 3820
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 71 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 10869.8 |  | 21739.6
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 72 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 3389.9 |  | 6779.8
SCG3507 | SCG Express Efficiency Rebates | 311017 | Water Heating -Commercial Pool Heater |  |  | MBtuH | Process | Commercial | 92 | 0 | 0 | 2.41 | 2 | 0.96 | 5 | 2070 |  | 4140
SCG3507 | SCG Express Efficiency Rebates | 311018 | Process Boiler - Water |  |  | MBtuH | Process | Industrial | 31 | 0 | 0 | 0.54 | 3.57 | 0.96 | 20 | 7900 |  | 3950
SCG3507 | SCG Express Efficiency Rebates | 311018 | Process Boiler - Water |  |  | MBtuH | Process | Industrial | 33 | 0 | 0 | 0.54 | 3.57 | 0.96 | 20 | 29310 |  | 14655
SCG3507 | SCG Express Efficiency Rebates | 311019 | Direct Contact Water Heater |  |  | MBtuH | Process | Industrial | 31 | 0 | 0 | 2.45 | 2.17 | 0.96 | 20 | 16891.8367 |  | 33000
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  |  | Process | Commercial | 49 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 2100 |  | 6300
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  |  | Process | Commercial | 51 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 66 |  | 198
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  |  | Process | Commercial | 53 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 46 |  | 138
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  |  | Process | Commercial | 61 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 69 |  | 207
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  |  | Process | Commercial | 81 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 1887.22 |  | 2903.75
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  |  | Process | Industrial | 31 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 4951.2 |  | 10298.8
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  |  | Process | Industrial | 32 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 150 |  | 450
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  |  | Process | Industrial | 33 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 1200 |  | 2163.84
SCG3507 | SCG Express Efficiency Rebates | 311022 | Tank Insulation - Low Temperature Applic. (LF) 2 in |  |  |  | Process | Industrial | 51 | 0 | 0 | 3.7 | 3.41 | 0.96 | 20 | 110 |  | 330
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  |  | Process | Commercial | 32 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 1351 |  | 5404
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  |  | Process | Commercial | 49 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 3886 |  | 14868
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  |  | Process | Commercial | 81 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 1060 |  | 4240
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  |  | Process | Industrial | 21 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 2432 |  | 8074
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  |  | Process | Industrial | 31 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 3631 |  | 12764.15
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  |  | Process | Industrial | 32 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 30329 |  | 107429.3
SCG3507 | SCG Express Efficiency Rebates | 311023 | Tank Insulation - High Temperature Applic. (LF) 2 in |  |  |  | Process | Industrial | 33 | 0 | 0 | 10.4 | 3.41 | 0.96 | 20 | 2560 |  | 10240
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  |  | Process | Agricultural | 11 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 5488 |  | 16464
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  |  | Process | Commercial | 49 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 212 |  | 636
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  |  | Process | Commercial | 61 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 2000 |  | 6000
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  |  | Process | Commercial | 71 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 11 |  | 33
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  |  | Process | Industrial | 32 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 235 |  | 705
SCG3507 | SCG Express Efficiency Rebates | 311024 | Pipe Insulation - Hot Water Applic. (sq ft) 2 in |  |  |  | Process | Industrial | 33 | 0 | 0 | 2.9 | 9.22 | 0.96 | 20 | 1494 |  | 4191.63
SCG3507 | SCG Express Efficiency Rebates | 311025 | Pipe Insulation - Low Pressure Steam Applic. (LF) 2 in |  |  |  | Process | Agricultural | 11 | 0 | 0 | 14.3 | 9.22 | 0.96 | 20 | 2350 |  | 9400
SCG3507 | SCG Express Efficiency Rebates | 311025 | Pipe Insulation - Low Pressure Steam Applic. (LF) 2 in |  |  |  | Process | Commercial | 92 | 0 | 0 | 14.3 | 9.22 | 0.96 | 20 | 90 |  | 360
SCG3507 | SCG Express Efficiency Rebates | 311025 | Pipe Insulation - Low Pressure Steam Applic. (LF) 2 in |  |  |  | Process | Industrial | 31 | 0 | 0 | 14.3 | 9.22 | 0.96 | 20 | 3300 |  | 13200
SCG3507 | SCG Express Efficiency Rebates | 311025 | Pipe Insulation - Low Pressure Steam Applic. (LF) 2 in |  |  |  | Process | Industrial | 32 | 0 | 0 | 14.3 | 9.22 | 0.96 | 20 | 294 |  | 1176
SCG3507 | SCG Express Efficiency Rebates | 311026 | Tank Insulation - Low Temperature Applic. (LF) 1 in |  |  |  | Process | Commercial | 61 | 0 | 0 | 3.4 | 2.58 | 0.96 | 20 | 166 |  | 332
SCG3507 | SCG Express Efficiency Rebates | 311026 | Tank Insulation - Low Temperature Applic. (LF) 1 in |  |  |  | Process | Industrial | 31 | 0 | 0 | 3.4 | 2.58 | 0.96 | 20 | 567 |  | 776.79
SCG3507 | SCG Express Efficiency Rebates | 311027 | Tank Insulation - High Temperature Applic. (LF) 1 in |  |  |  | Process | Commercial | 61 | 0 | 0 | 9.7 | 2.58 | 0.96 | 20 | 224 |  | 185.64
SCG3507 | SCG Express Efficiency Rebates | 311027 | Tank Insulation - High Temperature Applic. (LF) 1 in |  |  |  | Process | Industrial | 31 | 0 | 0 | 9.7 | 2.58 | 0.96 | 20 | 399.0515 |  | 1106.86
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  |  | Process | Agricultural | 11 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 2010 |  | 4020
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  |  | Process | Commercial | 49 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 40 |  | 80
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  |  | Process | Commercial | 61 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 3392 |  | 6722.37
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  |  | Process | Commercial | 62 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 231 |  | 236.88
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  |  | Process | Commercial | 71 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 106 |  | 212
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  |  | Process | Commercial | 81 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 1704 |  | 3217.82
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  |  | Process | Industrial | 31 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 1302 |  | 2445.72
SCG3507 | SCG Express Efficiency Rebates | 311028 | Pipe Insulation - Hot Water Applic. (sq ft) 1 in |  |  |  | Process | Industrial | 33 | 0 | 0 | 2.6 | 5.67 | 0.96 | 20 | 900 |  | 1591.8
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  |  | Process | Agricultural | 11 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 501 |  | 1503
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  |  | Process | Commercial | 42 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 600 |  | 1800
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  |  | Process | Commercial | 61 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 190 |  | 570
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  |  | Process | Commercial | 62 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 12 |  | 36
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  |  | Process | Commercial | 81 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 2240 |  | 4740.24
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  |  | Process | Commercial | 92 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 86 |  | 258
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  |  | Process | Industrial | 31 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 4802 |  | 12921.9
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  |  | Process | Industrial | 32 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 430 |  | 1290
SCG3507 | SCG Express Efficiency Rebates | 311029 | Pipe Insulation - Low Pressure Steam Applic. (LF) 1 in |  |  |  | Process | Industrial | 33 | 0 | 0 | 13.4 | 5.67 | 0.96 | 20 | 80 |  | 211.91
SCG3507 | SCG Express Efficiency Rebates | 311032 | Energy Star Clothes Washer - 3.5 cf Tier III MEF=1.8 | D03-951 | RRes00AVC3 |  | Process | Commercial | 56 | 0 | 0 | 69.75 | 764.91 | 0.96 | 10 | 1 |  | 75
SCG3507 | SCG Express Efficiency Rebates | 311032 | Energy Star Clothes Washer - 3.5 cf Tier III MEF=1.8 | D03-951 | RRes00AVC3 |  | Process | Commercial | 81 | 0 | 0 | 69.75 | 764.91 | 0.96 | 10 | 3 |  | 225
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Commercial | 42 | 0 | 0 | 139 | 223 | 0.96 | 15 | 30 |  | 3000
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Commercial | 49 | 0 | 0 | 139 | 223 | 0.96 | 15 | 1 |  | 100
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Commercial | 56 | 0 | 0 | 139 | 223 | 0.96 | 15 | 25 |  | 2500
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Commercial | 61 | 0 | 0 | 139 | 223 | 0.96 | 15 | 93 |  | 8870
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Commercial | 62 | 0 | 0 | 139 | 223 | 0.96 | 15 | 3 |  | 300
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Commercial | 72 | 0 | 0 | 139 | 223 | 0.96 | 15 | 40 |  | 4000
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Commercial | 81 | 0 | 0 | 139 | 223 | 0.96 | 15 | 24436 |  | 2401464.99
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Commercial | 92 | 0 | 0 | 139 | 223 | 0.96 | 15 | 9 |  | 900
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Industrial | 31 | 0 | 0 | 139 | 223 | 0.96 | 15 | 96 |  | 9486
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Industrial | 32 | 0 | 0 | 139 | 223 | 0.96 | 15 | 101.0935 |  | 600
SCG3507 | SCG Express Efficiency Rebates | 311033 | Steam Trap Replacement |  |  |  | Process | Industrial | 33 | 0 | 0 | 139 | 223 | 0.96 | 15 | 256.3956 |  | 19174
SCG3507 | SCG Express Efficiency Rebates | 311034 | Steam Trap Replacement - Industrial <15psig |  |  | Unit | Other | Commercial | 62 | 0 | 0 | 638 | 180 | 0.96 | 15 | 34 |  | 3400
SCG3507 | SCG Express Efficiency Rebates | 311034 | Steam Trap Replacement - Industrial <15psig |  |  | Unit | Other | Commercial | 81 | 0 | 0 | 638 | 180 | 0.96 | 15 | 25 |  | 2380
SCG3507 | SCG Express Efficiency Rebates | 311034 | Steam Trap Replacement - Industrial <15psig |  |  | Unit | Other | Industrial | 32 | 0 | 0 | 638 | 180 | 0.96 | 15 | 85 |  | 8500
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Commercial | 81 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 88 |  | 8800
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Industrial | 31 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 185 |  | 18457
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Industrial | 32 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 467 |  | 46700
SCG3507 | SCG Express Efficiency Rebates | 311035 | Steam Trap Replacement - Industrial >15psig |  |  | Unit | Other | Industrial | 33 | 0 | 0 | 2342 | 77 | 0.96 | 15 | 210 |  | 20380
SCG3507 | SCG Express Efficiency Rebates | 311036 | Steam Trap Replacement - Commercial <12hr/day (Dry Cleaners) |  |  | Unit | Process | Commercial | 81 | 0 | 0 | 139 | 77 | 0.96 | 6 | 6820 |  | 680329.44
SCG3507 | SCG Express Efficiency Rebates | 311036 | Steam Trap Replacement - Commercial <12hr/day (Dry Cleaners) |  |  | Unit | Process | Industrial | 31 | 0 | 0 | 139 | 77 | 0.96 | 6 | 7 |  | 700
SCG3507 | SCG Express Efficiency Rebates | 311036 | Steam Trap Replacement - Commercial <12hr/day (Dry Cleaners) |  |  | Unit | Process | Industrial | 33 | 0 | 0 | 139 | 77 | 0.96 | 6 | 219 |  | 21888
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 42 | 0 | 0 | 638 | 180 | 0.96 | 6 | 19 |  | 1900
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 49 | 0 | 0 | 638 | 180 | 0.96 | 6 | 20 |  | 2000
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 56 | 0 | 0 | 638 | 180 | 0.96 | 6 | 2 |  | 200
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 61 | 0 | 0 | 638 | 180 | 0.96 | 6 | 42 |  | 4167
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 62 | 0 | 0 | 638 | 180 | 0.96 | 6 | 43 |  | 4066
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 72 | 0 | 0 | 638 | 180 | 0.96 | 6 | 30 |  | 3000
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 81 | 0 | 0 | 638 | 180 | 0.96 | 6 | 123 |  | 12275.2
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Commercial | 92 | 0 | 0 | 638 | 180 | 0.96 | 6 | 183 |  | 11950
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Industrial | 31 | 0 | 0 | 638 | 180 | 0.96 | 6 | 60 |  | 6000
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Industrial | 32 | 0 | 0 | 638 | 180 | 0.96 | 6 | 6 |  | 600
SCG3507 | SCG Express Efficiency Rebates | 311037 | Steam Trap Replacement - Industrial <15 psig/Other Commercial 12-24 hr/day |  |  | Unit | Process | Industrial | 33 | 0 | 0 | 638 | 180 | 0.96 | 6 | 10 |  | 1000
SCG3507 | SCG Express Efficiency Rebates | 311038 | Steam Trap Replacement - Industrial >15 psig |  |  | Unit | Process | Industrial | 31 | 0 | 0 | 2342 | 223 | 0.96 | 6 | 457 |  | 84968.17
SCG3507 | SCG Express Efficiency Rebates | 311038 | Steam Trap Replacement - Industrial >15 psig |  |  | Unit | Process | Industrial | 32 | 0 | 0 | 2342 | 223 | 0.96 | 6 | 887 |  | 165961.16
SCG3507 | SCG Express Efficiency Rebates | 311038 | Steam Trap Replacement - Industrial >15 psig |  |  | Unit | Process | Industrial | 33 | 0 | 0 | 2342 | 223 | 0.96 | 6 | 226 |  | 41316.87
SCG3507 | SCG Express Efficiency Rebates | 311039 | Pipe Insulation -Hot Water Application < 1" pipe |  |  | LinearFt | Process | Commercial | 72 | 0 | 0 | 2.8 | 13.85 | 0.96 | 20 | 9 |  | 18
SCG3507 | SCG Express Efficiency Rebates | 311039 | Pipe Insulation -Hot Water Application < 1" pipe |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 2.8 | 13.85 | 0.96 | 20 | 120 |  | 126
SCG3507 | SCG Express Efficiency Rebates | 311039 | Pipe Insulation -Hot Water Application < 1" pipe |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 2.8 | 13.85 | 0.96 | 20 | 144 |  | 288
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Agricultural | 11 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 6746 |  | 13492
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 51 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 69 |  | 138
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 53 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 99 |  | 198
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 61 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 461 |  | 922
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 62 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 320 |  | 640
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 72 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 141 |  | 282
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 2356 |  | 4583
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 8817.6 |  | 17613.42
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Industrial | 32 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 870 |  | 1740
SCG3507 | SCG Express Efficiency Rebates | 311040 | Pipe Insulation -Hot Water Application >= 1" pipe |  |  | LinearFt | Process | Industrial | 33 | 0 | 0 | 18 | 16.33 | 0.83 | 20 | 1804 |  | 3608
SCG3507 | SCG Express Efficiency Rebates | 311041 | Pipe Insulation - Low pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 6.1 | 14.37 | 0.96 | 20 | 7324 |  | 20471.48
SCG3507 | SCG Express Efficiency Rebates | 311041 | Pipe Insulation - Low pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 6.1 | 14.37 | 0.96 | 20 | 117 |  | 290.87
SCG3507 | SCG Express Efficiency Rebates | 311041 | Pipe Insulation - Low pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Process | Industrial | 33 | 0 | 0 | 6.1 | 14.37 | 0.96 | 20 | 281 |  | 843
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Agricultural | 11 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 2250 |  | 6750
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 71 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 920 |  | 2760
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 3681 |  | 9894.72
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 880 |  | 2433.18
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 32 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 580 |  | 1740
SCG3507 | SCG Express Efficiency Rebates | 311042 | Pipe Insulation - Low pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 33 | 0 | 0 | 40 | 16.57 | 0.96 | 20 | 729 |  | 2187
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Commercial | 42 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 264 |  | 792
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Commercial | 53 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 150 |  | 450
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Commercial | 61 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 126 |  | 378
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Commercial | 62 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 460 |  | 1380
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Commercial | 72 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 275 |  | 825
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Commercial | 81 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 101863 |  | 302287.48
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Industrial | 31 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 1468 |  | 3921.24
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Industrial | 32 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 910 |  | 1188.66
SCG3507 | SCG Express Efficiency Rebates | 311043 | Pipe Insulation - Medium pressure steam <=15 psi < 1" pipe |  |  | LinearFt | Other | Industrial | 33 | 0 | 0 | 9.6 | 14.37 | 0.96 | 20 | 1638 |  | 4914
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Agricultural | 11 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 2185 |  | 6555
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 32 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 518 |  | 1554
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 42 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 177 |  | 531
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 53 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 195 |  | 585
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 61 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 135 |  | 405
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 62 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 55 |  | 165
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 72 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 54 |  | 162
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Commercial | 81 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 55328 |  | 165461.2
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 31 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 11556.8 |  | 33029.53
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 32 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 3493 |  | 8991.61
SCG3507 | SCG Express Efficiency Rebates | 311044 | Pipe Insulation - Medium pressure steam >15 psi >= 1" pipe |  |  | LinearFt | Process | Industrial | 33 | 0 | 0 | 63 | 16.57 | 0.96 | 20 | 1069 |  | 3207
SCG3510 | Multi-Family Rebate Program | 312002 | Natural Gas Storage Water Heater (EF>= 0.62) | D03-938 | RMFM10AVWH |  | Appliances | Multi Family | NA | 0 | 0 | 10.07 | 175.29 | 0.89 | 13 | 1000 |  | 30000
SCG3510 | Multi-Family Rebate Program | 312003 | Central Gas Furnace 90% AFUE | D03-410 | Average of |  | HVAC | Multi Family | NA | 0 | 0 | 22.38 | 253.08 | 0.89 | 18 | 30 |  | 6000
SCG3510 | Multi-Family Rebate Program | 312004 | Attic Insulation | D03-422 | Average of |  | HVAC | Multi Family | NA | 0.1798 | 0.0001 | 0.04 | 0.75 | 0.89 | 20 | 150708 |  | 22606.2
SCG3510 | Multi-Family Rebate Program | 312005 | Wall Insulation | D03-438 | RMFm1075RW |  | HVAC | Multi Family | NA | 0.0974 | 0.00014 | 0.06 | 1.32 | 0.89 | 20 | 25124 |  | 3768.6
SCG3510 | Multi-Family Rebate Program | 312008 | Central System Natural Gas Water Heater |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 257 | 1701 | 0.89 | 15 | 1070 |  | 535000
SCG3510 | Multi-Family Rebate Program | 312008 | Central System Natural Gas Water Heater |  |  |  | Appliances | Single Family | NA | 0 | 0 | 257 | 1701 | 0.89 | 15 | 2 |  | 1000
SCG3510 | Multi-Family Rebate Program | 312009 | Central System Gas Boiler: Water Heating Only |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 750 | 4060 | 0.89 | 20 | 490 |  | 735000
SCG3510 | Multi-Family Rebate Program | 312010 | Central System Gas Boiler: Space and Water Heating |  |  |  | HVAC | Multi Family | NA | 0 | 0 | 1900 | 4060 | 0.89 | 20 | 34 |  | 51000
SCG3510 | Multi-Family Rebate Program | 312012 | Gas Wtr Htr Controller (<30 units) Pre 1970 (Digital) |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 1125 | 1400 | 0.89 | 10 | 28 |  | 21000
SCG3510 | Multi-Family Rebate Program | 312014 | Gas Wtr Htr Controller (>= 30 units) Pre 1970 |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 2250 | 1550 | 0.89 | 10 | 26 |  | 19500
SCG3510 | Multi-Family Rebate Program | 312014 | Gas Wtr Htr Controller (>= 30 units) Pre 1970 (Digital) |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 2250 | 1550 | 0.89 | 10 | 198 |  | 297000
SCG3510 | Multi-Family Rebate Program | 312015 | Gas Wtr Htr Controller (<30 units) Post 1970 (Digital) |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 850 | 1400 | 0.89 | 10 | 248 |  | 186000
SCG3510 | Multi-Family Rebate Program | 312017 | Clothes Washer Energy Star Tier II MEF = 1.60 (In Coin-Op Laundry Area) | D03-950 | RRes00AVC3 |  | Appliances | Multi Family | NA | 0 | 0 | 101.77 | 852.99 | 0.8 | 10 | 20 |  | 3000
SCG3510 | Multi-Family Rebate Program | 312021 | Energy Star Dishwasher Tier I (EF=.62) | D03-953 | RMFM00AVDW |  | Appliances | Multi Family | NA | 0 | 0 | 3.9 | 183.64 | 0.8 | 13 | 506 |  | 15180
SCG3510 | Multi-Family Rebate Program | 312022 | Energy Star Dishwasher Tier II (EF=.68+) | D03-953 | RMFM00AVDW |  | Appliances | Multi Family | NA | 0 | 0 | 4.9 | 383.64 | 0.8 | 13 | 5210 |  | 260500
SCG3510 | Multi-Family Rebate Program | 312022 | Energy Star Dishwasher Tier II (EF=.68+) | D03-953 | RMFM00AVDW |  | Appliances | Single Family | NA | 0 | 0 | 4.9 | 383.64 | 0.8 | 13 | 2 |  | 100
SCG3510 | Multi-Family Rebate Program | 312023 | Central gas Furnace 92% AFUE | D03-411 | Average of |  | HVAC | Multi Family | NA | 0 | 0 | 25.99 | 289.94 | 0.89 | 18 | 10 |  | 2000
SCG3510 | Multi-Family Rebate Program | 312026 | Clothes Washer Energy Star Tier III MEF = 1.80 (In Coin-Op Laundry Area) | D03-951 | RRes00AVC3 |  | Appliances | Mobile Homes | NA | 0 | 0 | 35.4 | 518.78 | 0.8 | 10 | 4 |  | 600
SCG3510 | Multi-Family Rebate Program | 312026 | Clothes Washer Energy Star Tier III MEF = 1.80 (In Coin-Op Laundry Area) | D03-951 | RRes00AVC3 |  | Appliances | Multi Family | NA | 0 | 0 | 35.4 | 518.78 | 0.8 | 10 | 12 |  | 1800
SCG3510 | Multi-Family Rebate Program | 312027 | Gas Wtr Htr Controller (>=30 units) Post 1970 |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 1699 | 1550 | 0.89 | 10 | 112 |  | 84000
SCG3510 | Multi-Family Rebate Program | 312027 | Gas Wtr Htr Controller (>=30 units) Post 1970 (Digital) |  |  |  | Appliances | Multi Family | NA | 0 | 0 | 1699 | 1550 | 0.89 | 10 | 1026 |  | 1539000
SCG3510 | Multi-Family Rebate Program | 312029 | Energy Star Dishwasher Tier I (EF=.65) | D03-953 | RMFM00AVDW | Dishwasher | Appliances | Multi Family | NA | 0 | 0 | 3.75 | 133.64 | 0.89 | 5 | 8 |  | 240
SCG3511 | Savings By Design SCG SCE Program | 313005 | Misc (per Therm) |  |  | Therm | HVAC | Industrial | NA | 0 | 0 | 1 | 2.53 | 0.94 | 15 | 530655 |  | 318084.2
SCG3512 | Savings By Design SCG Muni Program | 313017 | Whole Bldg (per Therm) |  |  | Building | HVAC | Commercial | NA | 0 | 0 | 1 | 2.97 | 0.82 | 15 | 10496 |  | 955
SCG3512 | Savings By Design SCG Muni Program | 317003 | Misc (per Therm) |  |  | Building | HVAC | Industrial | NA | 0 | 0 | 1 | 2.53 | 0.94 | 15 | 1438049 |  | 623780
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Agricultural | 11 | 0 | 0 | 323 | 3144 | 1 | 12 | 24 |  | 12000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Commercial | 44 | 0 | 0 | 323 | 3144 | 1 | 12 | 36 |  | 18000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Commercial | 45 | 0 | 0 | 323 | 3144 | 1 | 12 | 6 |  | 3000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Commercial | 53 | 0 | 0 | 323 | 3144 | 1 | 12 | 18 |  | 9000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Commercial | 61 | 0 | 0 | 323 | 3144 | 1 | 12 | 852 |  | 426000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Commercial | 62 | 0 | 0 | 323 | 3144 | 1 | 12 | 72 |  | 36000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Commercial | 71 | 0 | 0 | 323 | 3144 | 1 | 12 | 108 |  | 54000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Commercial | 72 | 0 | 0 | 323 | 3144 | 1 | 12 | 780 |  | 390000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Commercial | 81 | 0 | 0 | 323 | 3144 | 1 | 12 | 102 |  | 51000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Industrial | 31 | 0 | 0 | 323 | 3144 | 1 | 12 | 102 |  | 51000
SCG3513 | SCG Local Business Energy Effic. | 314001 | EER Convection Oven |  |  |  | Process | Industrial | 33 | 0 | 0 | 323 | 3144 | 1 | 12 | 48 |  | 24000
SCG3513 | SCG Local Business Energy Effic. | 314003 | EER Griddle |  |  |  | Process | Commercial | 72 | 0 | 0 | 88 | 4575 | 1 | 12 | 162 |  | 20250
SCG3513 | SCG Local Business Energy Effic. | 314006 | EER Fryer - High Effic. Unit |  |  |  | Process | Commercial | 44 | 0 | 0 | 505 | 3796 | 1 | 12 | 84 |  | 42000
SCG3513 | SCG Local Business Energy Effic. | 314006 | EER Fryer - High Effic. Unit |  |  |  | Process | Commercial | 45 | 0 | 0 | 505 | 3796 | 1 | 12 | 72 |  | 36000
SCG3513 | SCG Local Business Energy Effic. | 314006 | EER Fryer - High Effic. Unit |  |  |  | Process | Commercial | 72 | 0 | 0 | 505 | 3796 | 1 | 12 | 1452 |  | 726000
SCG3513 | SCG Local Business Energy Effic. | 314006 | EER Fryer - High Effic. Unit |  |  |  | Process | Industrial | 23 | 0 | 0 | 505 | 3796 | 1 | 12 | 24 |  | 12000
SCG3513 | SCG Local Business Energy Effic. | 314008 | PER Furnace Replacement |  |  |  | HVAC | Industrial | 33 | 0 | 0 | 1 | 4.79 | 0.8 | 20 | 1115412 |  | 706316.4
SCG3513 | SCG Local Business Energy Effic. | 314009 | PER Kiln Replacement |  |  |  | Process | Commercial | 61 | 0 | 0 | 1 | 0.53 | 0.8 | 20 | 51690 |  | 35546.4
SCG3513 | SCG Local Business Energy Effic. | 314010 | PER Oven Replacement |  |  |  | Process | Industrial | 31 | 0 | 0 | 1 | 2.5 | 0.8 | 20 | 214260 |  | 150000
SCG3513 | SCG Local Business Energy Effic. | 314010 | PER Oven Replacement |  |  |  | Process | Industrial | 33 | 0 | 0 | 1 | 2.5 | 0.8 | 20 | 86610 |  | 69288
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  |  | Process | Agricultural | 11 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 330726 |  | 78676.2
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  |  | Process | Commercial | 22 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 251286 |  | 58700.94
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  |  | Process | Commercial | 72 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 148620 |  | 108000
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  |  | Process | Commercial | 81 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 1132050 |  | 413944.2
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  |  | Process | Industrial | 31 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 1751022 |  | 535077.06
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  |  | Process | Industrial | 32 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 908220 |  | 62601.96
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  |  | Process | Industrial | 33 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 392304 |  | 181176
SCG3513 | SCG Local Business Energy Effic. | 314011 | CPI Heat Recovery |  |  |  | Process | Industrial | 54 | 0 | 0 | 1 | 1.84 | 0.8 | 20 | 60882 |  | 37526.88
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  |  | Process | Agricultural | 11 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 37836 |  | 23900.4
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  |  | Process | Commercial | 72 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 300072 |  | 240057.6
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  |  | Process | Commercial | 81 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 960432 |  | 705114.3
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  |  | Process | Industrial | 31 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 934728 |  | 620948.4
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  |  | Process | Industrial | 32 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 774486 |  | 209118.66
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  |  | Process | Industrial | 33 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 595164 |  | 414103.08
SCG3513 | SCG Local Business Energy Effic. | 314012 | PER Misc. Process Equip. Replacement |  |  |  | Process | Industrial | 54 | 0 | 0 | 1 | 3.64 | 0.8 | 20 | 113028 |  | 90422.4
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  |  | Process | Agricultural | 11 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 826932 |  | 220855.08
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  |  | Process | Commercial | 72 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 176892 |  | 39600
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  |  | Process | Commercial | 81 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 572604 |  | 177879
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  |  | Process | Commercial | 92 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 393924 |  | 150000
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  |  | Process | Industrial | 21 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 68232 |  | 32269.2
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  |  | Process | Industrial | 31 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 3886440 |  | 1111571.28
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  |  | Process | Industrial | 32 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 4566180 |  | 588862.92
SCG3513 | SCG Local Business Energy Effic. | 314013 | CPI Equip. Modernization |  |  |  | Process | Industrial | 33 | 0 | 0 | 1 | 1.15 | 0.8 | 20 | 2792070 |  | 365570.64
SCG3513 | SCG Local Business Energy Effic. | 314014 | PER Engine Rebuild/Replacement |  |  |  | Process | Agricultural | 11 | 0 | 0 | 1 | 4.16 | 0.8 | 15 | 34014 |  | 25555.86
SCG3513 | SCG Local Business Energy Effic. | 314014 | PER Engine Rebuild/Replacement |  |  |  | Process | Agricultural | 22 | 0 | 0 | 1 | 4.16 | 0.8 | 15 | 460980 |  | 329046.6
SCG3513 | SCG Local Business Energy Effic. | 314015 | PER Pump Rebuild/Replacement |  |  |  | Process | Agricultural | 11 | 0 | 0 | 1 | 1.63 | 0.8 | 15 | 12468 |  | 9974.4
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  |  | Process | Commercial | 42 | 0 | 0 | 403 | 21797 | 1 | 12 | 6 |  | 4500
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  |  | Process | Commercial | 44 | 0 | 0 | 403 | 21797 | 1 | 12 | 216 |  | 162000
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  |  | Process | Commercial | 51 | 0 | 0 | 403 | 21797 | 1 | 12 | 6 |  | 4500
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  |  | Process | Commercial | 61 | 0 | 0 | 403 | 21797 | 1 | 12 | 66 |  | 49500
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  |  | Process | Commercial | 62 | 0 | 0 | 403 | 21797 | 1 | 12 | 6 |  | 4500
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  |  | Process | Commercial | 71 | 0 | 0 | 403 | 21797 | 1 | 12 | 18 |  | 13500
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  |  | Process | Commercial | 72 | 0 | 0 | 403 | 21797 | 1 | 12 | 168 |  | 126000
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  |  | Process | Commercial | NA | 0 | 0 | 403 | 21797 | 1 | 12 | 48 |  | 36000
SCG3513 | SCG Local Business Energy Effic. | 314016 | EER Combination Oven |  |  |  | Process | Industrial | 33 | 0 | 0 | 403 | 21797 | 1 | 12 | 6 |  | 4500
SCG3513 | SCG Local Business Energy Effic. | 314023 | EER Cabinet Steamer Tier I |  |  |  | Process | Commercial | 62 | 0 | 0 | 2084 | 6221 | 1 | 12 | 12 |  | 9000
SCG3513 | SCG Local Business Energy Effic. | 314023 | EER Cabinet Steamer Tier I |  |  |  | Process | Commercial | 71 | 0 | 0 | 2084 | 6221 | 1 | 12 | 6 |  | 4500
SCG3513 | SCG Local Business Energy Effic. | 314023 | EER Cabinet Steamer Tier I |  |  |  | Process | Commercial | 72 | 0 | 0 | 2084 | 6221 | 1 | 12 | 12 |  | 8100
SCG3513 | SCG Local Business Energy Effic. | 314046 | EER Cabinet Steamer Tier II |  |  |  | Process | Commercial | 71 | 0 | 0 | 8.67 | 11.11 | 1 | 12 | 1442.214 |  | 4500
SCG3513 | SCG Local Business Energy Effic. | 314046 | Grand (SPC Equivalent Measure) |  |  | MBTU | Process | Agricultural | 11 | 0 | 0 | 8.67 | 4.61 | 1 | 15 | 849705.1902 |  | 969168
SCG3513 | SCG Local Business Energy Effic. | 314046 | Grand (SPC Equivalent Measure) |  |  | MBTU | Process | Industrial | 31 | 0 | 0 | 8.67 | 4.61 | 1 | 15 | 369305.19 |  | 1600938
SCG3513 | SCG Local Business Energy Effic. | 314046 | Grand (SPC Equivalent Measure) |  |  | MBTU | Process | Industrial | 32 | 0 | 0 | 8.67 | 4.61 | 1 | 15 | 2296425.6042 |  | 4583535
SCG3513 | SCG Local Business Energy Effic. | 314046 | Grand (SPC Equivalent Measure) |  |  | MBTU | Process | Industrial | 54 | 0 | 0 | 8.67 | 4.61 | 1 | 15 | 181793.7714 |  | 878076
SCG3513 | SCG Local Business Energy Effic. | 314047 | EER Large Vat Fryers |  |  | Unit | Other | Commercial | 72 | 0 | 0 | 578 | 3122 | 1 | 12 | 36 |  | 18000
SCG3513 | SCG Local Business Energy Effic. | 314048 | EER Single Rack Oven |  |  | Unit | Process | Commercial | 72 | 0 | 0 | 1034 | 8221 | 1 | 12 | 6 |  | 6000
SCG3513 | SCG Local Business Energy Effic. | 314049 | EER Double Rack Oven |  |  | Unit | Process | Commercial | 44 | 0 | 0 | 2104 | 8646 | 1 | 12 | 60 |  | 120000
SCG3513 | SCG Local Business Energy Effic. | 314049 | EER Double Rack Oven |  |  | Unit | Process | Commercial | 61 | 0 | 0 | 2104 | 8646 | 1 | 12 | 6 |  | 12000
SCG3513 | SCG Local Business Energy Effic. | 314049 | EER Double Rack Oven |  |  | Unit | Process | Commercial | 72 | 0 | 0 | 2104 | 8646 | 1 | 12 | 6 |  | 12000
SCG3513 | SCG Local Business Energy Effic. | 314049 | EER Double Rack Oven |  |  | Unit | Process | Industrial | 31 | 0 | 0 | 2104 | 8646 | 1 | 12 | 78 |  | 156000
SCG3513 | SCG Local Business Energy Effic. | 314050 | PER Boiler Replacement |  |  | Therm | HVAC | Commercial | NA | 0 | 0 | 1 | 2.44 | 1 | 20 | 221394 |  | 100831.14
SCG3513 | SCG Local Business Energy Effic. | 314050 | PER Boiler Replacement |  |  | Therm | HVAC | Industrial | 31 | 0 | 0 | 1 | 2.44 | 1 | 20 | 2853726 |  | 295896
SCG3513 | SCG Local Business Energy Effic. | 314050 | PER Boiler Replacement |  |  | Therm | HVAC | Industrial | 32 | 0 | 0 | 1 | 2.44 | 1 | 20 | 177390 |  | 141912
SCG3513 | SCG Local Business Energy Effic. |  | Commitments | [8 empty] | 9032250 | [5 empty] | 4515678
SCG3517 | Home Efficiency Rebate Program | 315002 | Gas Storage Water Heater (EF>= 0.62) | D03-938 | RSFM10AVWH |  | Appliances | Mobile Homes | NA | 0 | 0 | 11.22 | 175.29 | 0.89 | 13 | 74 |  | 2220
SCG3517 | Home Efficiency Rebate Program | 315002 | Gas Storage Water Heater (EF>= 0.62) | D03-938 | RSFM10AVWH |  | Appliances | Multi Family | NA | 0 | 0 | 11.22 | 175.29 | 0.89 | 13 | 2 |  | 60
SCG3517 | Home Efficiency Rebate Program | 315002 | Gas Storage Water Heater (EF>= 0.62) | D03-938 | RSFM10AVWH |  | Appliances | Single Family | NA | 0 | 0 | 11.22 | 175.29 | 0.89 | 13 | 9580 |  | 287400
SCG3517 | Home Efficiency Rebate Program | 315003 | Central Gas Furnace 90% AFUE | D03-410 | Average of |  | HVAC | Mobile Homes | NA | 0 | 0 | 34.56 | 479.52 | 0.89 | 18 | 2 |  | 200
SCG3517 | Home Efficiency Rebate Program | 315003 | Central Gas Furnace 90% AFUE | D03-410 | Average of |  | HVAC | Single Family | NA | 0 | 0 | 34.56 | 479.52 | 0.89 | 18 | 244 |  | 24400
SCG3517 | Home Efficiency Rebate Program | 315004 | Attic Insulation | D03-422 | Average of |  | HVAC | Mobile Homes | NA | 0.1631 | 9e-05 | 0.03 | 0.75 | 0.89 | 20 | 16732 |  | 2509.8
SCG3517 | Home Efficiency Rebate Program | 315004 | Attic Insulation | D03-422 | Average of |  | HVAC | Single Family | NA | 0.1631 | 9e-05 | 0.03 | 0.75 | 0.89 | 20 | 17922692 |  | 2688403.8
SCG3517 | Home Efficiency Rebate Program | 315005 | Wall Insulation | D03-438 | RSFm1075RW |  | HVAC | Mobile Homes | NA | 0.4139 | 0.00018 | 0.09 | 1.32 | 0.89 | 20 | 5024 |  | 753.6
SCG3517 | Home Efficiency Rebate Program | 315005 | Wall Insulation | D03-438 | RSFm1075RW |  | HVAC | Single Family | NA | 0.4139 | 0.00018 | 0.09 | 1.32 | 0.89 | 20 | 7407264 |  | 1111089.6
SCG3517 | Home Efficiency Rebate Program | 315006 | Energy Star Labeled Dishwasher Tier I EF=0.62 | D03-952 | RSFM00AVDW |  | Appliances | Mobile Homes | NA | 0 | 0 | 5.3 | 183.64 | 0.8 | 13 | 190 |  | 5700
SCG3517 | Home Efficiency Rebate Program | 315006 | Energy Star Labeled Dishwasher Tier I EF=0.62 | D03-952 | RSFM00AVDW |  | Appliances | Multi Family | NA | 0 | 0 | 5.3 | 183.64 | 0.8 | 13 | 6 |  | 180
SCG3517 | Home Efficiency Rebate Program | 315006 | Energy Star Labeled Dishwasher Tier I EF=0.62 | D03-952 | RSFM00AVDW |  | Appliances | Single Family | NA | 0 | 0 | 5.3 | 183.64 | 0.8 | 13 | 18592 |  | 557760
SCG3517 | Home Efficiency Rebate Program | 315008 | Clothes Washer Tier I | D03-949 | RRes00AVC3 |  | Appliances | Mobile Homes | NA | 0 | 0 | 19.65 | 246.13 | 0.8 | 14 | 250 |  | 8750
SCG3517 | Home Efficiency Rebate Program | 315008 | Clothes Washer Tier I | D03-949 | RRes00AVC3 |  | Appliances | Multi Family | NA | 0 | 0 | 19.65 | 246.13 | 0.8 | 14 | 6 |  | 210
SCG3517 | Home Efficiency Rebate Program | 315008 | Clothes Washer Tier I | D03-949 | RRes00AVC3 |  | Appliances | Single Family | NA | 0 | 0 | 19.65 | 246.13 | 0.8 | 14 | 48348 |  | 1692260
SCG3517 | Home Efficiency Rebate Program | 315009 | Clothes Washer Tier II | D03-950 | RRes00AVC3 |  | Appliances | Single Family | NA | 0 | 0 | 21.85 | 606.86 | 0.89 | 14 | 232 |  | 8050
SCG3517 | Home Efficiency Rebate Program | 315014 | Central Gas Furnace 92% AFUE | D03-411 | Average of |  | HVAC | Mobile Homes | NA | 0 | 0 | 40.17 | 549.36 | 0.89 | 18 | 76 |  | 15200
SCG3517 | Home Efficiency Rebate Program | 315014 | Central Gas Furnace 92% AFUE | D03-411 | Average of |  | HVAC | Single Family | NA | 0 | 0 | 40.17 | 549.36 | 0.89 | 18 | 7912 |  | 1581800
SCG3517 | Home Efficiency Rebate Program | 315016 | Faucet Aerators | D03-934 | RSFM10AVWH |  | Appliances | Single Family | NA | 0 | 0 | 6.73 | 7.11 | 0.89 | 9 | 402 |  | 1116
SCG3517 | Home Efficiency Rebate Program | 315017 | Low Flow Showerhead | D03-937 | RSFM10AVWH |  | Appliances | Single Family | NA | 0 | 0 | 8.97 | 22.94 | 0.89 | 10 | 26 |  | 130
SCG3517 | Home Efficiency Rebate Program | 315022 | Tankless Water Heater EF=0.80 | D03-940 | RSFM10AVWH |  | Appliances | Mobile Homes | NA | 0 | 0 | 33.66 | 370.63 | 0.89 | 20 | 2 |  | 400
SCG3517 | Home Efficiency Rebate Program | 315022 | Tankless Water Heater EF=0.80 | D03-940 | RSFM10AVWH |  | Appliances | Single Family | NA | 0 | 0 | 33.66 | 370.63 | 0.89 | 20 | 4566 |  | 913200
SCG3517 | Home Efficiency Rebate Program | 315032 | Pipe Wrap |  |  | Household | Water Heating | Single Family | NA | 0 | 0 | 8.97 | 3.7 | 0.89 | 15 | 36 |  | 36
SCG3517 | Home Efficiency Rebate Program | 315033 | Energy Star Dish Washer EF=0.65 | D03-952 | RSFM00AVDW | Dishwasher | Appliances | Mobile Homes | NA | 0 | 0 | 4.36 | 426.29 | 0.8 | 13 | 248 |  | 7440
SCG3517 | Home Efficiency Rebate Program | 315033 | Energy Star Dish Washer EF=0.65 | D03-952 | RSFM00AVDW | Dishwasher | Appliances | Single Family | NA | 0 | 0 | 4.36 | 426.29 | 0.8 | 13 | 24368 |  | 731040
SCG3517 | Home Efficiency Rebate Program | 315034 | Energy Star Clothes Washer - MEF=1.72 WF=8.0 | D03-950 | RRes00AVC3 | Clothes Wa | Appliances | Mobile Homes | NA | 0 | 0 | 7.25 | 1368.54 | 0.8 | 14 | 284 |  | 9940
SCG3517 | Home Efficiency Rebate Program | 315034 | Energy Star Clothes Washer - MEF=1.72 WF=8.0 | D03-950 | RRes00AVC3 | Clothes Wa | Appliances | Multi Family | NA | 0 | 0 | 7.25 | 1368.54 | 0.8 | 14 | 2 |  | 70
SCG3517 | Home Efficiency Rebate Program | 315034 | Energy Star Clothes Washer - MEF=1.72 WF=8.0 | D03-950 | RRes00AVC3 | Clothes Wa | Appliances | Single Family | NA | 0 | 0 | 7.25 | 1368.54 | 0.8 | 14 | 51214 |  | 1792490
SCG3517 | Home Efficiency Rebate Program | 354001 | Faucet Aerators - Self Install |  |  | Household | Water Heating | Single Family | NA | 0 | 0 | 2.7 | 0 | 0.8 | 9 | 90024 |  | 0
SCG3517 | Home Efficiency Rebate Program | 354002 | Low Flow Showerhead - Self Install |  |  | Showerhead | Water Heating | Single Family | NA | 0 | 0 | 5.92 | 0 | 0.8 | 10 | 92066 |  | 0
SCG3518 | IOU/Community College Partnership | 324001 | Gas Measures |  |  | Therm | Process | Commercial | 61 | 0 | 0 | 1 | 1.8 | 0.8 | 10 | 86444
SCG3520 | IOU/UC/CSU Partnership | 323001 | Gas Measures |  |  | Therm | Process | Commercial | 61 | 0 | 0 | 1 | 1.8 | 0.8 | 10 | 64819
SCG3523 | Bakersfield Kern Partnership | 326003 | Faucet Aerators-MF | D03-934 | RMFM14AVWH | Household | Water Heating | Multi Family | NA | 0 | 0 | 6.04 | 12.69 | 0.89 | 9 | 92
SCG3523 | Bakersfield Kern Partnership | 326004 | Faucet Aerators-SF | D03-934 | RSFM14AVWH | Household | Water Heating | Multi Family | NA | 0 | 0 | 6.73 | 12.69 | 0.89 | 9 | 34
SCG3523 | Bakersfield Kern Partnership | 326004 | Faucet Aerators-SF | D03-934 | RSFM14AVWH | Household | Water Heating | Single Family | NA | 0 | 0 | 6.73 | 12.69 | 0.89 | 9 | 128
SCG3523 | Bakersfield Kern Partnership | 326006 | Low Flow Showerhead-SF | D03-937 | RSFM14AVWH | Showerhead | Water Heating | Single Family | NA | 0 | 0 | 8.97 | 37.94 | 0.89 | 10 | 77
SCG3526 | California Urban Water Conservation Council | 328004 | Spray Valve 3 Year |  |  | Unit | Process | Commercial | NA | 0 | 0 | 317.58 | 81 | 0.8 | 3 | 2532
SCG3527 | Los Angeles County partnership | 329001 | Gas Measures |  |  | Therm | Process | Commercial | 62 | 0 | 0 | 1 | 1.8 | 0.8 | 15 | 33238
SCG3527 | Los Angeles County partnership | 329001 | Gas Measures |  |  | Therm | Process | Commercial | 92 | 0 | 0 | 1 | 1.8 | 0.8 | 15 | 309144
SCG3536 | 3P Constant Volume Retrofit Program (CVRP) | 349001 | DART-1 |  |  | sq.ft. | Process | Commercial | 61 | 3 | 0.00045 | 0.09 | 1.32 | 0.8 | 10 | 294740.1909 |  | 175102.2
SCG3538 | 3P Gas Cooling Upgrade Program | 345001 | Gas Cooling Unit Upgrade |  |  | Units | HVAC | Multi Family | NA | 0 | 0 | 864.61 | 1000 | 0.8 | 15 | 17 |  | 8875
SCG3538 | 3P Gas Cooling Upgrade Program | 345001 | Gas Cooling Unit Upgrade |  |  | Units | HVAC | Single Family | NA | 0 | 0 | 864.61 | 1000 | 0.8 | 15 | 2 |  | 875
SCG3539 | 3P Comprehensive Manufactured/Mobile Home Program | 348001 | Duct Test and Seal (Combined SCG & SCE) |  |  | Per Unit | HVAC | Mobile Homes | NA | 0 | 0 | 35 | 295.74 | 0.89 | 18 | 2414 |  | 380518.8
SCG3539 | 3P Comprehensive Manufactured/Mobile Home Program | 348003 | Pipe Wrap - EEC |  |  | Per Unit | Water Heating | Mobile Homes | NA | 0 | 0 | 8.97 | 40 | 0.89 | 10 | 152 |  | 5130.48
SCG3539 | 3P Comprehensive Manufactured/Mobile Home Program | 348004 | Faucet Aerator - EEC |  |  | Per Unit | Water Heating | Mobile Homes | NA | 0 | 0 | 6.73 | 12.7 | 0.89 | 9 | 3418 |  | 37215.17
SCG3539 | 3P Comprehensive Manufactured/Mobile Home Program | 348005 | Low Flow Showerheads - EEC |  |  | Per Unit | Water Heating | Mobile Homes | NA | 0 | 0 | 8.97 | 37.95 | 0.89 | 10 | 3116 |  | 105040.36
SCG3542 | Savings By Design | 352012 | EER Convection Oven |  |  | Unit | Process | Commercial | NA | 0 | 0 | 323 | 3144 | 1 | 12 | 8 |  | 4000
SCG3542 | Savings By Design | 352014 | EER Fryer - High Effic. Unit |  |  | Unit | Process | Commercial | NA | 0 | 0 | 505 | 3796 | 1 | 12 | 10 |  | 5000
SCG3542 | Savings By Design | 352016 | EER Combination Oven |  |  | Unit | Process | Commercial | NA | 0 | 0 | 403 | 21797 | 1 | 12 | 9 |  | 6750
SCG3542 | Savings By Design | 352019 | EER Double Rack Oven |  |  | Unit | Process | Commercial | NA | 0 | 0 | 2104 | 8646 | 1 | 12 | 8 |  | 14000
SCG3542 | Savings By Design |  | Commitments | [8 empty] | 3968711 | [5 empty] | 1514103
SCG3544 | EEC - Domestic Hot Water Controls | 356001 | EDC Domestic Hot Water Control Program |  |  | Hotel Room | Water Heating | Commercial | 72 | 0 | 0 | 25 | 0 | 0.8 | 15 | 553 |  | 13244.35

## Expenditures
Southern California Gas Company
2006-2008 Energy Efficiency Expenditures Report
Quarter Ending March 2008
Table 3: Quarterly Program Expenditures
Program ID | Program Name | Adopted Program Budget (3 - Yr) | Program Operating Budget (3 - Yr) | Administrative Costs | Marketing/ Advertising/ Outreach Costs | Direct Implementation Costs | Total Expenditures
SCG3533 | 3P Alliance Partners Program | 3270000 | 3505276.7578 | 59064.4547 | 591.28 | 2225360.34 | 2285016.0747
SCG3532 | 3P Chinese Language Efficiency Outreach Program | 455181 | 456851.1719 | 135411.4572 | 108889.1049 | 0 | 244300.562
SCG3536 | 3P CVRP | 1290000 | 876149.7578 | 154785.7393 | 34924.37 | 175648.338 | 365358.4473
SCG3537 | 3P Designed_for_Comfort | 1123133 | 1358409.7578 | 44986.0858 | 601799.2763 | 130053.5667 | 776838.9288
SCG3529 | 3P Energy Efficiency Kiosk Pilot Program | 900000 | 736851.1719 | 75619.9016 | 581835.14 | 15673.037 | 673128.0786
SCG3538 | 3P Gas_Cooling_Upgrade | 944582 | 1101433.1719 | 52979.3725 | 2607.2646 | 380462.3171 | 436048.9542
SCG3540 | 3P Laundry_Coin-op_Program | 7707056 | 5835447.7578 | 410561.544 | 1103250.98 | 871614.0337 | 2385426.5577
SCG3534 | 3P LivingWise | 985500 | 1220776.7578 | 35906.7641 | 0 | 14533.5682 | 50440.3323
SCG3539 | 3P Manufactured_Mobile_Home_Program | 4572000 | 4728851.1719 | 27568.7996 | 2184.82 | 641805.6805 | 671559.3001
SCG3531 | 3P PACE Energy Efficient Ethnic Outreach Program | 2915629 | 3072480.1719 | 80130.0594 | 426508.04 | 875628.43 | 1382266.5294
SCG3530 | 3P Portfolio of the Future | 2905000 | 3140276.7578 | 60169.0978 | 38066.49 | 1010816.64 | 1109052.2278
SCG3541 | 3P Upstream/Midstream Gas Heat | 6019189 | 0 | 4788.0518 | 0 | 8987.5 | 13775.5518
SCG3535 | 3P VESM_Advantage | 1935000 | 2128051.1719 | 384996.5412 | 591.28 | 14225.6976 | 399813.5188
SCG3544 | 3P EDC Domestic Hot Water Controls | 776616 | 776616 | 69133.0542 | 11619.73 | 94078.1658 | 174830.95
SCG3545 | 3P Demand Based Ventilation Program | 189600 | 189600 | 9999.14 | 21.85 | 0 | 10020.99
SCG3546 | 3P Benningfield Group - Advanced Water Heater Technology | 404525 | 404525 | 25462.04 | 51055.64 | 0 | 76517.68
SCG3549 | 3P Envinta Energy Challenger | 73600 | 73600 | 0 | 0 | 26200 | 26200
SCG3523 | BKP4-Bakersfield Kern Partnership | 750000 | 735134.3019 | 46601.801 | 2842.5 | 85935.2 | 135379.501
SCG3518 | CCP4-IOU/Community College Partnership | 2000000 | 1960360.9202 | 107482.8994 | 98 | 226721.5141 | 334302.4136
SCG3519 | CDC4-CA Department of Corrections Partnership | 631000 | 618494.4464 | 64937.4812 | 0 | 31126.5807 | 96064.0619
SCG3501 | CS4-Codes & Standards Program | 900000 | 882161.5094 | 57960.5046 | 0 | 235678.2256 | 293638.7302
SCG3526 | CUW4-California Urban Water Conservation Council | 1299000 | 1273247.4681 | 359852.0258 | 34790 | 0 | 394642.0258
SCG3525 | EC4-Energy Coalition - Direct Install | 456000 | 446961.6527 | 44808.4153 | 5389.344 | 41194.062 | 91391.8213
SCG3524 | EC5-Energy Coalition - Peak | 1374000 | 1346766.0406 | 123815.18 | 61771.272 | 96915.692 | 282502.144
SCG3502 | EED4-Advanced Home Program | 8750000 | 8579843.5425 | 681120.4664 | 575276.23 | 3080421.6583 | 4336818.3547
SCG3503 | EET4-Education & Training Program | 6450000 | 6323690.7191 | 679892.448 | 10192.21 | 3420493.2309 | 4110577.8889
SCG3504 | EMO4-Energy Efficiency Delivery Channel Innovation Prog | 3000000 | 2940536.9636 | 235955.343 | 1172647.37 | 304924.2137 | 1713526.9266
SCG3506 | ETP4-Emerging Tech Program | 3000000 | 2940537.1811 | 573250.057 | 7500 | 890616.7048 | 1471366.7619
SCG3507 | EXP4-Express Efficiency Rebate Program | 22101237 | 21673195.0262 | 1712298.8143 | 2949506.6463 | 7235257.0596 | 11897062.5203
SCG3509 | HES4-Home Energy Efficiency Survey | 1900000 | 1862569.1295 | 232587.9736 | 955044.41 | 210130.8206 | 1397763.2042
SCG3527 | LAP4-Los Angeles County partnership | 1500000 | 1470268.5952 | 93441.3086 | 0 | 152430 | 245871.3086
SCG3510 | MFR4-Multi-Family Rebate Program | 9500000 | 9315899.6726 | 534512.9202 | 79223.4844 | 2275633.3887 | 2889369.7933
SCG3542 | NEW4-Savings By Design SCG SCE Program | 10500000 | 10297012.0111 | 486580.2551 | 319273.3722 | 2122517.1835 | 2928370.8108
SCG3513 | NRF4-Local Business Energy Efficiency Program | 26846940 | 26328586.3921 | 2017191.4859 | 480283.2059 | 6926444.8825 | 9423919.5743
SCG3514 | OBF4-On-Bill Financing for Energy Efficiency Equipment | 3750000 | 3675672.0003 | 621456.24 | 0 | 0 | 621456.24
SCG3528 | RCX4-RCx Partnership with SCE | 150000 | 147028.0088 | 5115.7727 | 314.64 | 442.65 | 5873.0627
SCG3543 | Palm Desert Partnership Program |  | 2242965 | 108319.8574 | 478.13 | 0 | 108797.9874
SCG3522 | SBP4-South Bay Partnership | 360000 | 352864.458 | 120532.5819 | 91625.5469 | 81624.0735 | 293782.2023
SCG3516 | SCD4-Sustainable Communities Demo/City of Santa Monica | 900000 | 882161.1575 | 62085.3744 | 0 | 0 | 62085.3744
SCG3517 | SFR4-Home Efficiency Rebate Program | 19500000 | 19124553.1991 | 1178190.978 | 1020121.4161 | 7406879.7387 | 9605192.1328
SCG3520 | UCP4-IOU/UC/CSU Partnership | 3060000 | 2999348.3345 | 510189.3708 | 1575 | 1142782.9723 | 1654547.343
SCG3521 | VCP4-Ventura County Partnership | 420000 | 411675.2041 | 107657.0942 | 85714.9804 | 184802.5916 | 378174.6662
Total Portfolio |  | 165564788 | 158436729.5128 | 12397398.7522 | 10817613.024 | 42638059.7576 | 65853071.5339

## GBI Report
Southern California Gas Company
2006-2008 Green Building Initiative (GBI) Report
Southern California Gas Company
Quarter Ending March 2008
Table 4.1: GBI Goal and Results
|  | Summer Peak (kW, net) |  | Energy Savings (kWh, net) |  | Gas Savings (Net Annual Therms)
State Buildings Only | Expenditures ($) | kW Installed |  | kWh Installed |  | Therms Installed
Quarterly Totals | 375 |  |  |  |  | 331.2
Current Program Cycle | 13697 |  |  |  |  | 26567.808
Total Since Inception | 134473.8679 |  |  |  |  | 151662.7403
2006-2008 Utility Target | 154843.24 |  |  |  |  | 208389.58
2006-2008 Utility Target: % Fulfilled | 8.846% |  |  |  |  | 12.75% | #DIV/0!
Commercial Buildings Only
Quarterly Totals | 1393633.94 |  |  |  |  | 4379990.1205
Current Program Cycle | 8848248.08 |  |  |  |  | 16102548.4155
Total Since Inception | 10901329.7863 |  |  |  |  | 18229032.746
2006-2008 Utility Target | 2632174.71 |  |  |  |  | 3542407.1
2006-2008 Utility Target: % Fulfilled | 336.2% |  |  |  |  | 454.6% | #DIV/0!
Other Public Buildings Only
Quarterly Totals | 48576.4 |  |  |  |  | 52007.5679
Current Program Cycle | 637991.55 |  |  |  |  | 707634.8031
Total Since Inception | 2832128.9658 |  |  |  |  | 2980217.925
2006-2008 Utility Target | 2813016.64 |  |  |  |  | 3785785.99
2006-2008 Utility Target: % Fulfilled | 22.68% |  |  |  |  | 18.69% | #DIV/0!
Commercial & Institutional
Quarterly Totals | 1442585.34 |  |  |  |  | 4432328.8884 | 0
Current Program Cycle | 9499936.63 |  |  |  |  | 16836751.0266 | 0
Total Since Inception | 13867932.62 |  |  |  |  | 21360913.4114 | 0
2006-2008 Utility Target | 5600034.59 |  |  |  |  | 7536582.67 | 0
2006-2008 Utility Target: % Fulfilled | 169.6% |  |  |  |  | 223.4% | #DIV/0!
Table 4.2: GBI Results by NAICS Code
| Square Footage | Summer Peak (kW, net) |  | Energy Savings (kWh, net) |  | Gas Savings (Net Annual Therms)
Commercial & Institutional Buildings | Total Installed (inception to date) | Total Installed (inception to date) | Total Installed (Report Quarter) | Total Installed (inception to date) | Total Installed (Report Quarter) | Total Installed (inception to date) | Total Installed (Report Quarter)
Nonresidential
42 |  | 0 | 0 | 0 | 0 | 51797.1001 | 24775.104
44 |  | 0 | 0 | 0 | 0 | 308747.9144 | 16525.344
45 |  | 0 | 0 | 0 | 0 | 38298 | 36360
49 |  | 0 | 0 | 0 | 0 | 111804.8038 | 0
51 |  | 0 | 0 | 0 | 0 | 11136.8199 | 220.8
52 |  | 0 | 0 | 0 | 0 | 9810.0789 | 0
53 |  | 0 | 0 | 0 | 0 | 36297.7168 | 13732.5216
54 |  | 0 | 0 | 0 | 0 | 1730057.0436 | 90422.4
55 |  | 0 | 0 | 0 | 0 | 0 | 0
56 |  | 0 | 0 | 0 | 0 | 17892.365 | 0
61 |  | 0 | 0 | 0 | 0 | 783250.8269 | 126130.1687
62 |  | 0 | 0 | 0 | 0 | 211106.6365 | 34620.864
71 |  | 0 | 0 | 0 | 0 | 173308.7215 | 10068.096
72 |  | 0 | 0 | 0 | 0 | 1950982.15 | 362885.9669
81 |  | 0 | 0 | 0 | 0 | 15173825.8725 | 3604503.7832
92 |  | 0 | 0 | 0 | 0 | 752597.3614 | 112083.84
Total |  | 0 | 0 | 0 | 0 | 21360913.4114 | 4432328.8884
Table 4.3: GBI Results by End Use Classification
Total | Square Footage | Summer Peak (kW, net) |  | Energy Savings (kWh, net) |  | Gas Savings (Net Annual Therms)
| Total Installed (inception to date) | Total Installed (inception to date) | Total Installed (Report Quarter) | Total Installed (inception to date) | Total Installed (Report Quarter) | Total Installed (inception to date) | Total Installed (Report Quarter)
Nonresidential
HVAC |  | 0 | 0 | 0 | 0 | 8616.96 | 0
Lighting |  | 0 | 0 | 0 | 0 | 0 | 0
Office |  | 0 | 0 | 0 | 0 | 0 | 0
Process |  | 0 | 0 | 0 | 0 | 19930159.3806 | 3765191.8644
Refrigeration |  | 0 | 0 | 0 | 0 | 0 | 0
Other |  | 0 | 0 | 0 | 0 | 1411077.0709 | 667137.024
Total |  | 0 | 0 | 0 | 0 | 21349853.4114 | 4432328.8884

## EM&V
Southern California Gas Company
2006-2008 Energy Efficiency EM&V Expenditures Report
Quarter Ending March 2008
Table 3: Quarterly EM&V Expenditures
Budgets |  |  | Inception-to-Date Expenditures |  |  | Report Quarter Expenditures
SCG EM&V Budget (3 - Yr) | Staff EM&V Budget (3 - Yr) | Total EM&V Budget (3 - Yr) | IOU EM&V Expenditures (Inception-To-Date) | Staff EM&V Expenditures (Inception-To-Date) | Total EM&V Expenditures (Inception-To-Date) | IOU EM&V Expenditures (Report Quarter) | Staff EM&V Expenditures (Report Quarter) | Total EM&V Expenditures (Report Quarter)
3661275 | 9779754 | 13441029 | 14978.98 | 36896.86 | 51875.84 | 14978.98 | 36896.86 | 51875.84 | 1st Q 2006
3661275 | 9779754 | 13441029 | 30676.52 | 62869.31 | 93545.83 | 15697.54 | 25972.45 | 41669.99 | 2nd Q 2006
3661275 | 9779754 | 13441029 | 55826.26 | 95376.89 | 151203.15 | 25149.74 | 32507.58 | 57657.32 | 3rd Q 2006
3661275 | 9779754 | 13441029 | 86281.03 | 103325.41 | 189606.44 | 30454.77 | 7948.52 | 38403.29 | 4th Q 2006
3661275 | 9779754 | 13441029 | 123728.37 | 147215.85 | 270944.22 | 37447.34 | 43890.44 | 81337.78 | 1st Q 2007
3661275 | 9779754 | 13441029 | 164940.07 | 170141.63 | 335081.7 | 41211.7 | 22925.78 | 64137.48 | 2nd Q 2007
3661275 | 9779754 | 13441029 | 276634.43 | 232650.11 | 509284.54 | 111694.36 | 62508.48 | 174202.84 | 3rd Q 2007
3661275 | 9779754 | 13441029 | 756648.14 | 398510.77 | 1155158.91 | 480013.71 | 165860.66 | 645874.37 | 4th Q 2007
3661275 | 9779754 | 13441029 | 975303.85 | 488897.93 | 1464201.78 | 218655.71 | 90387.16 | 309042.87 | 1st Q 2008