# Subject:	Hydrotesting Costs

Exhibit Reference: SoCalGas/SDG&E Prepared Testimony in R.11-02-019

QUESTION TCR1-1:

TCR 1-1:  Please provide all workpapers supporting SoCalGas/SDG&E’s unit and overall costs for hydrotesting.  Provide excel versions with active formulas, links, and linked files where they were created by SoCalGas/SDG&E.

RESPONSE TCR 1-1:

Information regarding the pressure test cost estimates included in the PSEP can be found on pages WP-IX-1-2 through WP-IX-1-20 of the workpapers supporting Chapter IX of the Testimony and in the workpaper Appendices IX-1-A through IX-1-D.  Excel versions of these documents, including the cost estimate sheets completed by SPEC Services, were provided to DRA on 12/9/2011.

QUESTION TCR 1-2:

TCR 1-2: Please provide detailed hydrotesting unit costs for the following:

- Pre-test line cleaning.

- In-line tools for cleaning.

- Cost of water delivered to test site.

- Cost to remove water from test site and disposal.

- Pump for line filling and pressurization.

- Testing costs, including third-party costs for filling, pressurization, leak detection, depressurization, and independent verification.

- Post-test line cleaning.

- Line drying.

- Air compressor.

- Test monitoring and recording equipment.

- Labor per project, including all types of labor required.

RESPONSE TCR 1-2:

All unit costs contributing to the overall hydrotest cost estimate for a specific project in the PSEP are contained within the SPEC Services cost estimate sheets.  These can be found in Appendices IX-1-A through IX-1-D.  Excel versions of these estimate sheets were provided to DRA on 12/9/2011.

QUESTION TCR 1-3:

TCR 1-3: Please provide a detailed budget justification for fixed costs, including details of all the costs associated:

- Hydrotests.

- Pipeline replacement projects.

RESPONSE TCR 1-3:

SoCalGas/SDG&E utilized a reputable, Southern California-based pipeline engineering company (SPEC Services) for the pressure test and replacement cost estimation effort in order to get an experienced, independent, third party perspective on the cost to replace or pressure test pipe segments.  No preliminary engineering or site evaluation was performed in advance of the formulation of these estimates.  As such, SPEC attempted to identify all expected cost contributors as line items and relied on past project experience to assign individual costs.  Detail regarding the assumptions and basis for the pressure test and replacement costs can be found in Appendices D and E of the Testimony.

QUESTION TCR 1-4:

TCR 1-4:  Describe SoCalGas/SDG&E’s use of permanent and temporary test heads for hydrotesting:

- Provide a list of existing test heads in SoCalGas/SDG&E’s inventory.

- Provide cost estimates for any new permanent test heads.

- Provide cost estimates for any new temporary test heads.

- Provide SoCalGas/SDG&E’s policy regarding re-use of test heads.

- Does SoCalGas/SDG&E plan to use any test heads only once?

f.	Provide SoCalGas/SDG&E’s plan to test heads in the current test program.

RESPONSE TCR 1-4:

SoCalGas and SDG&E maintain a reasonable number of test heads for pressure testing pipelines and assemblies.  Our inventory includes two types of test heads; those that are designed to accommodate pigs for filling and removing test mediums, and test heads of shorter length for pressure testing when pigs are not required.  A complete listing of test heads in the SoCalGas/SDG&E inventory is provided in Table 1 below.

The test heads in inventory are generally designed and fabricated with heavy wall pipe and extra-strong fittings and components to accommodate a wide range of static test pressures.  These fabricated assemblies are intended for subsequent pressure tests and, therefore, will be regarded as “permanent” test heads.  It should be noted, however, that all permanent test heads in our inventory are not retained indefinitely but are subject to being removed from service over time for various reasons.  Test heads regarded as “temporary” would be those fabricated for a single pressure test or a limited number of tests before the assembly is discarded or disassembled to salvage the pressure rated components for future needs.

Following fabrication, radiographic inspection and pressure testing of a permanent test head, the design data sheet and test records are retained for the operational life of the assembly.

a.  Provide a list of existing test heads in SoCalGas/SDG&E’s inventory.

The following table lists the SoCalGas/SDG&E inventory of test heads by location and  size.

b.  Provide cost estimates for any new permanent test heads.

The estimated cost for new permanent test heads, per unit, is as follows:

| NPS (in) | Long | Short |
| --- | --- | --- |
| 6 | $4,600 | $1,533 |
| 8 | $6,900 | $2,300 |
| 10 | $9,200 | $3,067 |
| 12 | $11,500 | $3,833 |
| 14 | $13,800 | $4,600 |
| 16 | $16,100 | $5,367 |
| 18 | $18,400 | $6,133 |
| 20 | $20,700 | $6,900 |
| 22 | $23,000 | $7,667 |
| 24 | $25,300 | $8,433 |
| 26 | $27,600 | $9,200 |
| 30 | $32,200 | $10,733 |
| 34 | $34,500 | $11,500 |
| 36 | $35,650 | $11,883 |

The required number of new permanent test heads will depend upon the pressure test plan and schedule and the number of suitable test heads in inventory.  Therefore, until the pressure test implementation plan is closer to finalization, the estimated total cost for new permanent test heads cannot be determined.

c.  Provide cost estimates for any new temporary test heads.

As noted above, the required number of new temporary test heads will depend upon the pressure test plan and schedule and the number of suitable test heads in inventory.  Therefore, the estimated total cost for new temporary test heads cannot be determined until the pressure test implementation plan is closer to completion.

d.  Provide SoCalGas/SDG&E’s policy regarding re-use of test heads.

The re-use of test heads is based on the validation of design and test pressure records, usage history, and physical condition.  Materials used for test heads may be included in the Design Data Sheet prepared for pre-qualifying the pipeline or assembly intended for testing.

e.  Does SoCalGas/SDG&E plan to use any test heads only once?

No, it is very unlikely that new test heads will be used only one time.  SoCalGas and SDG&E will optimize the use test heads in inventory and fabricate new assemblies only when necessary.  Newly fabricated assemblies, whether permanent or temporary, will be retained for future use.

f.  Provide SoCalGas/SDG&E’s plan to test heads in the current test program.

For purposes of this response, we interpret this request as seeking “SoCalGas/SDG&E’s plan to [use] test heads in the current test program.”  It is our intention to optimize the use test heads in inventory and fabricate new assemblies only when necessary.  Newly fabricated assemblies, whether permanent or temporary, will be retained for future use.  As noted in subparts b and c, the required number of new temporary test heads will depend upon the pressure test plan and schedule and the number of suitable test heads in inventory.