QUESTION 6.1:

Please explain why the total in spreadsheet “PSEP Transmission Electronic Attachment.xlsx” that is provided in response to SCGC Data Request No.1.1 as part of Mr. Rivera’s workpapers does not tie to the total for “Base Valve Work” of $234.7 million as shown in H22 in the “Valves Cap Summary” tab of the spreadsheet “PSEP Workpaper VALVES MAB (2011-9-1).xlsx” (unsure of date in name).  Please describe all of the differences between the figures identified in the question.

| From PSEP Transmission Electronic Attachment |
| --- |
| SOCAL TOTAL | $230,314 |
| LESS ASV TO RCV CONVERSIONS | $21,049 |
| SOCAL BASE TRANSMISSION VALVES_1b | $209,265 |
| SDGE BASE TRANSMISSION VALVES 1a | $19,278 |
| OVERALL TOTAL | $249,591 |

RESPONSE 6.1:

The “SOCAL TOTAL” of $230,314 (all $1000s in table) referenced above, as extracted from the detailed spreadsheet table entitled “PSEP MAJOR TRANSMISSION VALVE UPGRADES” contains cost for all SoCalGas transmission valve work - including the preliminary cost estimate ($21,049) for ASV to RCV conversions shown in that Table – these are valves which already have actuators. This work, however, is scope-refined and cost-presented separately under the “Valves_Cap_2- ASC to RCV” PSEP workpaper, and is appropriately not included in “Valves_1b..” workpaper costs.  When this figure is subtracted from the total of work listed (because it is cost accounted for elsewhere), the net cost result ($209.3 MM) is for work performed on SoCalGas transmission valves requiring  base major mechanical work (actuator, valve, relocation, etc).   This remaining total matches the base transmission valve total in Tables 6 and 9 of worksheet “Valves_1b…” to within rounding differences.   In that same “Valves_1b…” workpaper, $25,050 in distribution valve cost are identified and added to this total to arrive at the $234.7 MM figure referenced above.

QUESTION 6.2:

Does the spreadsheet “PSEP Transmission Electronic Attachment.xlsx” list any valve upgrades that correspond to any of the following categories:  “94 ASV to RCV,” “COMM to 100 ASV,” “20 Large Meter Sites,” “120 Backflow Prev Sites,” “40 Tap Meters,” or “SCADA System”?

RESPONSE 6.2:

The listing of valves in PSEP transmission Electronic Attachment does include “94 ASV to RCV conversions” – see work shown as “C/P” with $217k in the cost column (there are 98 total “C/P” total entries) but costs for the 98 entries with this designation are removed from base valves cost totals at the bottom of that sheet and excluded from workpaper totals in “Valves_1b…”.  Cost totals for 94 of these valves are presented as separate line items on all work papers, as forecasted and generated in Workpaper “Valves_2_ASV to RCV...”. Where costs are listed in column “J” of attached Table 6.8.1, those valves constitute the 94 ASV to RCV locations.   As such, there is no overlapping or duplication of costs.  None of the other categories referenced are represented in “PSEP Transmission Electronic Attachment.xlxs;“ as they are all presented in the stand-alone “Valves_#...” series of workpapers.

QUESTION 6.3:

If the answer to the previous question is “yes,” please list the category and the associated valve upgrades including the line number, cost, and other associated information.

RESPONSE 6.3:

Refer to Response 6.2.

QUESTION 6.4:

If the answer to the question prior to the previous question is “no,” why are there about 360 valve upgrade activities listed in the spreadsheet “PSEP Transmission Electronic Attachment.xlsx” while Table V-1 states that only 347 valve upgrade activities correspond to the “upgrade existing manual control valves to ASC/RCV”?

RESPONSE 6.4:

Not Applicable.

QUESTION 6.5:

Why don’t all of the pipeline numbers listed in the spreadsheet as corresponding to valve replacement work, that is, having an installation type of NV/NP in the fifth column, have pipeline numbers that correspond to the list of pipeline replacement lines in Phase1A or 1B?  For example, refer to lines 37, 120, 1004, 1011, 1027, 1176, and 2002 that have the installation type NV/NP but do not have a corresponding entry in either the pipeline replacement list for Phase 1A or the pipeline replacement as mitigation for pre-1946 construction.

RESPONSE 6.5:

The Valve Enhancement Plan and costs were prepared assuming any pipelines meeting the size, pressure and class location criteria in PSEP Valve Decision Tree would ultimately require RCVs/ASV capability.  Valve modifications on Pipelines installed prior to 1950 meeting that criteria were cost-estimated assuming the pipelines would be subject to replacement.   These cost on a per-valve basis are less than or equal to replacement of valves in a 60+ year old existing pipeline.

QUESTION 6.6:

Please explain how the three replacement segments of pipeline 2000, which together total less than 0.25 miles in length, corresponds to 22 separate entries of NV/NP for line 2000.

RESPONSE 6.6:

Refer to Answer 6.5.  Line 2000 was installed prior to 1950.

| Table B |  |
| --- | --- |
| VALVE ENHANCEMENT PLAN CAPITAL COSTS ($ Millions) BY ELEMENT (SOCALGAS and SDG&E) |  |
| PROJECT COST ($000,000 IN 2011$) | 2012 | 2013 | 2014 | 2015 | 2012-2015 | 2016-2021 | Total |
| BASE VALVE WORK |  |  |  |  |  |  | 286.7 |
| DIRECT LABOR | 3.90 | 3.90 | 3.90 | 3.90 | 15.60 | 23.40 | 39.00 |
| DIRECT NON-LABOR | 24.77 | 24.77 | 24.77 | 24.77 | 99.09 | 148.63 | 247.71 |
| 94 ASV TO RCV |  |  |  |  |  |  | 20.87 |
| DIRECT LABOR | - | 0.19 | 0.19 | 0.19 | 0.57 | 5.86 | 1.79 |
| DIRECT NON-LABOR | - | 2.03 | 2.03 | 2.03 | 6.09 | 39.54 | 19.08 |
| COMM TO 100 ASVs |  |  |  |  |  |  | 0.22 |
| DIRECT LABOR | - | - | 0.01 | 0.01 | 0.02 | 4.72 | 0.10 |
| DIRECT NON-LABOR | - | - | 0.02 | 0.02 | 0.03 | 26.64 | 0.12 |
| 20 LARGE METER SITES |  |  |  |  |  |  | 6.23 |
| DIRECT LABOR | 0.04 | 0.04 | 0.04 | 0.04 | 0.15 | 0.22 | 0.37 |
| DIRECT NON-LABOR | 0.59 | 0.59 | 0.59 | 0.59 | 2.34 | 3.52 | 5.86 |
| 120 BACKFLOW PREV SITES |  |  |  |  |  | 23.29 |
| DIRECT LABOR | 0.08 | 0.08 | 0.38 | 0.38 | 0.92 | 2.29 | 3.21 |
| DIRECT NON-LABOR | 0.28 | 0.28 | 2.44 | 2.44 | 5.45 | 14.63 | 20.08 |
| 40 TAP METERS |  |  |  |  |  |  | 4.05 |
| DIRECT LABOR | - | - | 0.11 | 0.11 | 0.22 | 0.33 | 0.55 |
| DIRECT NON-LABOR | - | - | 0.70 | 0.70 | 1.40 | 2.10 | 3.50 |
| SCADA SYSTEM EXPANSION |  |  |  |  |  | 3.75 |
| DIRECT LABOR | - | - | 0.20 | 0.20 | 0.40 | - | 0.40 |
| DIRECT NON-LABOR | - | - | 1.68 | 1.68 | 3.35 | - | 3.35 |
| SDGE RADIO SYSTEM EXP |  |  |  |  |  | 3.07 |
| DIRECT LABOR | - | 0.13 | 0.13 | 0.13 | 0.39 | - | 0.39 |
| DIRECT NON-LABOR | - | 0.89 | 0.89 | 0.89 | 2.68 | - | 2.68 |
| SCG RADIO SYSTEM EXP |  |  |  |  |  | 13.28 |
| DIRECT LABOR | 0.60 | 0.60 | 0.60 | 0.60 | 2.39 | 1.20 | 3.59 |
| DIRECT NON-LABOR | 1.34 | 1.34 | 1.17 | 1.77 | 5.62 | 4.08 | 9.69 |

QUESTION 6.7:

Table B (WP-IX-2—3) above reports $247.71 million for direct non-labor cost associated with “Base Valve Work” plus another $39.00 million for direct labor, but the total of the major transmission valve upgrades (WP-IX-2—23) is $249.59 million with $21.049 million attributed to ASV to RCV conversions and the SDG&E Distribution valve work (WP-IX-2—25) is $32.658 million.  Please reconcile the base valve work costs on Table B to the basic valve work shown in the two tables where the costs are broken out by line, explaining the basis for any difference in the figures.

RESPONSE 6.7:

The $21.049 MM estimate for ASV to RCV valves in Summary table “PSEP MAJOR TRANSMISSION VALVE UPGRADES” is not part of the $286.7 Million total presented in Table B under Base Valve work.  The $286.7 million total shown in Table B is an extract of valve costs strictly derived in Workpapers “Valves_1a…” and “Valves_1b”, specifically summarized in Table 6 from each of these work papers under the distribution and transmission capital line entries.

These capital table entries are restated below:

From “Valves_1b…..” workpaper (SoCalGas) Table 6

From “Valves_1a…” workpaper (SDGE) Table 6

The Plan totals from the above is $286.7 Million.

QUESTION 6.8:

Please provide a breakdown by transmission and distribution pipeline number of the direct costs associated with the “94 ASV to RCV,” “COMM to 100 ASV,” “20 Large Meter Sites,” “120 Backflow Prev Sites,” and “40 Tap Meters” work categories that are shown in Table B.

RESPONSE 6.8:

Electronically Attached Tables R-8.6.1 thru R-8.6.3 in the included excel file (PSEP Data Req Response SCG 6_Attachments…xlsx.) contain the requested information, where available.

- Pipelines where 94 ASV will be equipped with RCV functionality are indicated in the Table 6.8.1., which is a derivative of PSEP Attachment “Valves_Cap_2”.  The 94 valves designated with a “C/P” work descriptor, and for which costs are shown in column “J, “represent the target locations.  The final blended cost for each valve is shown in workpaper “Valves_2…” to be $222k.  This figure was used for Plan cost estimation and is referenced in Column “J” totals in Table R-6.8-1.

- Locations where communications will be added to existing ASVs are shown in Attached Table R-6.8-2 by associated pipeline.

- Preliminary pipeline locations where 20 Large Meters targeted for installation are listed in Attached Table R-6.8-3 along with associated costs.

Specific locations and prioritization for the remainder of the request items are not yet completed.